OVERVIEW

SERVICE AREA ANd POPULATION

Indicate the reserves served, number of households, number of people, anticipated population growth, and major business/industrial users.

SERVICE TYPE

Identify the types of wastewater services provided (e.g. piped community system, treatment type and location or individual septic systems). Itemize each area in the community that receives a different level of service.

SERVICE PROVIDER

List the various service providers (e.g., the First Nation, neighbouring community through a service agreement, or private purveyors).

ANALYSIS SUMMARY

Using the relevant infrastructure questions provided on the following page, summarize the key opportunities and issues related to this service.

OPPORTUNITIES

ISSUES AND RISKS

GENERAL COMMENTS

WASTEWATER SERVICE ANALYSIS

Consider the following questions in your analysis of issues and opportunities:

- What is the quality and quantity of information available about this service? Are there major gaps?

- What is the capacity of the wastewater treatment system? Is it over- or under-sized? Would it be able to support additional demand?

- What is the capacity of the collection system? Lift stations? Are these components over- or under-sized?

- If services are provided through a service agreement with a neighbouring community, what are the current restrictions on the service capacity?

- Is the system compliant with all regulations (for effluent disposal, etc.)?

- What percentage of the population is on the community system (versus on-site septic systems)?

- Are any on-site septic systems failing? What are the environmental threats associated with failure?

- Does the community system receive appropriate operations and maintenance?

- Do on-site septic systems receive appropriate operations and maintenance?

- Are there any issues with odour or noise?

- What is the condition of assets?

- Does the system have excessive leakage or too many breaks?

- Does the community have the human resources (expertise/knowledge) to operate and maintain this system in the future?

- Is this system exposed to hazards (like floods, landslides, earthquakes, wildfires, etc.)?

- Are there opportunities to share services with neighbouring communities?

- Does the community have adequate financial resources to provide this service?