OVERVIEW

SERVICE AREA ANd POPULATION

Indicate the reserves served, number of households, number of people, anticipated population growth, and major business/industrial users.

Example: - IR1 and IR2 - 40 households (80 people) - No non-residential users - Households expected to double by 2050

SERVICE TYPE

Identify the types of water services provided (e.g., piped community system, filtered water source, point-of-entry/point-of-use treatment, individual wells or surface water intakes). Itemize each area in the community that receives a different level of service.

Example: - IR1 – All homes are on a piped community water system - IR2 – 10 homes on individuals wells

SERVICE PROVIDER

List the various service providers (e.g., the First Nation, neighbouring community through a service agreement, or private purveyors).

Example: - Water provided through a servicing agreement with the village.

ANALYSIS SUMMARY

Using the relevant infrastructure questions on the following page, summarize the key opportunities and issues related to this service.

OPPORTUNITIES

Example: - The Village is currently studying how to increase the capacity of its water system. - The water source is plentiful and is of high quality.

ISSUES AND RISKS

Example: - The Village’s system is nearing capacity. - Cost of needed upgrades is currently unknown.

GENERAL COMMENTS

Example: - The servicing agreement is due to be renegotiated next year. - The Village is willing to partner on upgrades.

WATER SERVICE ANALYSIS

Consider the following questions in your analysis of issues and opportunities:

- What is the quality and quantity of information available about this service? Are there major gaps?

- What is the capacity of the water treatment plant? Is it over- or under-sized? Would it be able to support additional demand?

- What is the capacity of the distribution system? Capacity of pumps? Are these components over- or under-sized?

- Does the system provide adequate fire flows to hydrants?

- If services are provided through a service agreement with a neighbouring community, what are the current restrictions on the service capacity?

- Are there issues with availability of water (e.g. seasonal shortages)?

- Is the system compliant with all regulations? Are there water quality issues like chronic boil water advisories?

- What percentage of the population is on the community system (versus individual wells, lake intakes, etc.)?

- What is the condition of assets?

- Are any wells failing?

- Has a watershed risk assessment been conducted?

- Is the source susceptible to contamination?

- Does the community system receive appropriate operations and maintenance?

- Do individual wells receive appropriate operations and maintenance?

- Does the system have excessive leakage or too many breaks?

- Does the community have the human resources (expertise/knowledge) to operate and maintain this system in the future?

- Is this system exposed to hazards (like floods, landslides, earthquakes, wildfires, etc.)?

- Is there an opportunity to share services with neighbouring communities?

- Does the community have adequate financial resources to provide this service?