The land use considerations you identify using this tool will be documented in the Infrastructure Needs Scoping Sheets. Add other considerations to this list as needed.

TRANSPORTATION

| Roads - Slope, rock, ground conditions - Other Bridges - Flood levels - Span (shortest crossing) - Other | Trails - Maintenance access - Other |
| --- | --- |

WATER

| Transmission mains - Not up steep slopes - Avoid going through rock - Maintenance access (public right-of-way) - Other Water treatment plant - Ideally near the source - May need to be connected to the Waste Water Treatment Plant (Water Treatment Plant can create waste) - Access to power - Access road - Other | Pumps - Need power (and back-up) - Likely located at the Water Treatment Plant - Other Source - Resistant to future changes (climate, competing land uses, wildfire, contamination) - Other Storage - Higher elevation - Access road - Other |
| --- | --- |

WASTEWATER

| Septic tank(s) - Access for pump-outs - Safe distance from drinking water sources - Other Lagoon - Earthquake and flood protected (design or by siting) - Aesthetics (technology dept) - Access road - Fencing - Footprint depends on capacity needs - Other Forcemains - No steep slopes - No rock - Other Lift Stations - Earthquake and flood protected (design or by siting) - Other | Wastewater treatment plant - Earthquake and flood protected (design or by siting) - Aesthetics (technology dept) - Lower elevation will result in less pumping - Access road - Other Disposal fields - Not in floodplain - Not on a slope - Suitable percolation - Safe distance from water sources - Footprint depends on amount to be disposed and soil conditions - Other Outfall - Maintenance access - Consider impacts of risk of failure - Safe distance from water intake - Other |
| --- | --- |

DRAINAGE/FLOOD PROTECTION

| Ponds - Public safety - Not on a slope - Other Pumps - Accessibility - Power source - Other | Dykes - Maintenance - Ability for future increases in height - Vulnerability to climate change and sea level rise - Other |
| --- | --- |

ELECTRICAL AND TELECOMMUNICATIONS

| - Distance to housing - Earthquake and flood protected - Other |  |
| --- | --- |

PARKS AND RECREATION

| Sports fields - Area that has suitable drainage - Not on a slope - Other | Parks - Accessible to many members of the community - Other |
| --- | --- |

COMMUNITY BUILDINGS

| Schools, arenas, libraries, longhouse, sweat lodge, solid waste buildings - Earthquake and flood protected (design or by siting) - Other |  |
| --- | --- |

ADD OTHER INFRASTRUCTURE SERVICES AS NEEDED